## Asis_FemsAssetRegistrationHisto
Hospital | Alor Gajah | Group By | Asset Type
From Date | 01-Apr-2026 | To Date | 02-Apr-2026 | Asset Status |  | Active
No. | Type Code | Description |  |  | Asset Count
1 | CIV000101 | Hospital Block, Ward |  |  | 32
2 | CIV000102 | Hospital Block, Clinical |  |  | 5
3 | CIV000104 | Hospital Block, Multiple Function |  |  | 7
4 | CIV000201 | Accomodation Block, Housemen/MO |  |  | 4
5 | CIV000202 | Accomodation Block, Nurses |  |  | 1
6 | CIV000203 | Accomodation Block, Other Staff |  |  | 25
7 | CIV000301 | Service Block, Engineering Plant |  |  | 2
8 | CIV000302 | Service Block, Waste |  |  | 3
9 | CIV000602 | Ancilliary, Guard House |  |  | 1
10 | CIV000604 | Ancilliary, Religious |  |  | 1
11 | CIV000702 | Tent, Shelter, Emergency |  |  | 3
12 | CIV001000 | Water Supply System |  |  | 2
13 | CIV001200 | Fencing & Gate |  |  | 1
14 | CIV001300 | Pavement |  |  | 1
15 | CIV001500 | Ground Maintenance Area |  |  | 13
16 | CIV020404 | Doors, Fire Rated |  |  | 10
17 | CIV040101 | Drainage, Compound drain |  |  | 6
18 | CIV040103 | Drainage, Retention / Detention Pond |  |  | 4
19 | CIV040201 | Fencing structure |  |  | 1
20 | CIV040204 | Manual Boom Gate |  |  | 4
21 | CIV040302 | Grease Trap |  |  | 3
22 | CIV040303 | Manhole / Gully Trap |  |  | 8
23 | CIV040402 | Pavement, Parking |  |  | 6
24 | CIV040403 | Pavement, Walkway |  |  | 2
25 | CIV040602 | Water Supply System, Storage Tank, Fibre Glass |  |  | 3
26 | CIV040604 | Water Supply System, Storage Tank, Galvanised Iron |  |  | 1
27 | CIV040605 | Water Supply System, Storage Tank, High Density Polyethylene (HDPE) |  |  | 4
28 | CIV050104 | Playground Equipment |  |  | 4
29 | ELC010101 | Air Conditioning, Electrical, Switchboard |  |  | 1
30 | ELC010201 | Air Conditioning, Electrical, Control Panel |  |  | 15
31 | ELC020201 | Audio-Visual, Equipment, Television |  |  | 21
32 | ELC020202 | Audio-Visual, Equipment, CD / VCD / DVD Player |  |  | 3
33 | ELC020204 | Audio-Visual, Equipment, Tape Player / Recorder |  |  | 2
34 | ELC020400 | Audio-Visual, MATV System |  |  | 1
35 | ELC020501 | Audio-Visual, Portable PA |  |  | 1
36 | ELC020601 | Audio-Visual, Projection Screen, Manual |  |  | 1
37 | ELC020602 | Audio-Visual, Projection Screen, Motorised |  |  | 3
38 | ELC020702 | Audio-Visual, Projector, Direct |  |  | 5
39 | ELC020703 | Audio-Visual, Projector, Slide |  |  | 2
40 | ELC020704 | Audio-Visual, Projector, Film |  |  | 1
41 | ELC020705 | Audio-Visual, Projector, Multimedia |  |  | 3
42 | ELC020800 | Audio-Visual, PA System |  |  | 2
43 | ELC020801 | Audio-Visual, PA System, Amplifier |  |  | 3
44 | ELC020802 | Audio-Visual, PA System, Microphones |  |  | 3
45 | ELC020803 | Audio-Visual, PA System, Mixer |  |  | 3
46 | ELC020808 | Audio-Visual, PA System, Speaker |  |  | 12
47 | ELC020809 | Audio-Visual, PA System, Theater System |  |  | 4
48 | ELC020903 | Audio-Visual, Equipment, Digital Message Display |  |  | 1
49 | ELC030101 | Office Automation, Equipment, Binding Machine |  |  | 2
50 | ELC030105 | Office Automation, Equipment, Facsimile |  |  | 6
51 | ELC030106 | Office Automation, Equipment, Franking Machine |  |  | 2
52 | ELC030109 | Office Automation, Equipment, Labeling Machine |  |  | 6
53 | ELC030110 | Office Automation, Equipment, Laminating Machine |  |  | 2
54 | ELC030111 | Office Automation, Equipment, Photocopier |  |  | 2
55 | ELC030115 | Office Automation, Equipment, Sealing Machine |  |  | 4
56 | ELC030116 | Office Automation, Equipment, Shredder |  |  | 9
57 | ELC030121 | Office Automation, Typewriter, Electrical / Electronic / Manual |  |  | 2
58 | ELC040000 | Building Automation System/Building Supervisory System/Building Management System/Progammable Logic Control |  |  | 1
59 | ELC040101 | Building Automation System/BSS/BMS/PLC, Controls |  |  | 3
60 | ELC040201 | Building Automation System/BSS/BMS/PLC, CPU & Software |  |  | 2
61 | ELC040401 | Building Automation System/BSS/BMS/PLC, Mimic Panel |  |  | 20
62 | ELC040601 | Building Automation System/BSS/BMS/PLC, Outstation / RPU (Repeater)/DDC |  |  | 97
63 | ELC050000 | Central Monitoring, Temperature, System |  |  | 1
64 | ELC050101 | Central Monitoring, Temperature, CPU |  |  | 1
65 | ELC050201 | Central Monitoring, Temperature, Modem |  |  | 3
66 | ELC050501 | Central Monitoring, Temperature, Recorder |  |  | 1
67 | ELC060200 | Communication, Intercom System |  |  | 1
68 | ELC060201 | Communication, Intercom System |  |  | 8
69 | ELC060400 | Communication, Nurse Call System |  |  | 1
70 | ELC060401 | Communication, Nurse Call System, Control Panel |  |  | 8
71 | ELC060500 | Communication, Paging System |  |  | 1
72 | ELC060800 | Communication, Queue Management System |  |  | 7
73 | ELC060801 | Communication, Queue Management, CPU |  |  | 3
74 | ELC060802 | Communication, Queue Management, Ticket Printer |  |  | 5
75 | ELC060803 | Communication, Queue Management, Key Pad |  |  | 26
76 | ELC060804 | Communication, Queue Management, Display/Monitor |  |  | 11
77 | ELC060903 | Communication, Radio, 2-Way Walkie-Talkie |  |  | 4
78 | ELC061000 | Communication, Telephone System |  |  | 1
79 | ELC061009 | Communication, Telephone System, PABX |  |  | 1
80 | ELC061012 | Communication, Telephone System, Video Conferencing Set |  |  | 1
81 | ELC070101 | Electrical Appliances, Clock Master |  |  | 1
82 | ELC070207 | Electrical Appliances, Medical Support, Tablet Counting Machine |  |  | 2
83 | ELC070208 | Electrical Appliances, Medical Support, Gauze Cutter |  |  | 1
84 | ELC070209 | Electrical Appliances, Medical Support, X-Ray Viewer |  |  | 56
85 | ELC070212 | Electrical Appliances, Medical Support, Distiller |  |  | 1
86 | ELC070217 | Electrical Appliances, Medical Support, Warming Cabinet |  |  | 1
87 | ELC070304 | Electrical Appliances, Non-medical, Vacuum Cleaner |  |  | 1
88 | ELC070305 | Electrical Appliances, Non-medical, High Pressure Water Jet |  |  | 2
89 | ELC070306 | Electrical Appliances, Non-medical, Hand Dryer |  |  | 2
90 | ELC070316 | Electrical Appliances, Non-medical, Chair Patient Treatment |  |  | 4
91 | ELC070318 | Electrical Appliances, Linen (Hospital Owned), Washing Machine |  |  | 3
92 | ELC070319 | Electrical Appliances, Linen (Hospital Owned), Sewing Machine |  |  | 3
93 | ELC080102 | Electrical Fittings, External, Beacon Light |  |  | 1
94 | ELC080107 | Electrical Fittings, External, Lighted Signage |  |  | 5
95 | ELC080109 | Electrical Fittings, External, Street Lighting |  |  | 1
96 | ELC090100 | Electrical Supply, Emergency, system |  |  | 1
97 | ELC090101 | Electrical Supply, Emergency, AMF Board |  |  | 2
98 | ELC090107 | Electrical Supply, Emergency, Generator Set |  |  | 2
99 | ELC090109 | Electrical Supply, Emergency, Synchronising Panel |  |  | 1
100 | ELC090200 | Electrical Supply System, MV |  |  | 1
101 | ELC090201 | Electrical Supply, MV, Main Incoming Panel |  |  | 2
102 | ELC090205 | Electrical Supply, MV, Circuit Breaker, VCB |  |  | 2
103 | ELC090210 | Electrical Supply, MV, Transformer |  |  | 2
104 | ELC090300 | Electrical Supply System, LV |  |  | 1
105 | ELC090301 | Electrical Supply, LV, Main Board |  |  | 7
106 | ELC090302 | Electrical Supply, LV, Distribution Board |  |  | 151
107 | ELC090303 | Electrical Supply, LV, Earthing |  |  | 1
108 | ELC090311 | Electrical Supply, LV, Sub-Main Switchboard |  |  | 5
109 | ELC090314 | Electrical Supply, LV, Isolated Power Supply |  |  | 4
110 | ELC090402 | Electrical Supply, UPS, Battery System |  |  | 2
111 | ELC100000 | Central Monitoring, Energy |  |  | 1
112 | ELC100101 | Central Monitoring, Energy, Main Controller |  |  | 1
113 | ELC100201 | Central Monitoring, Energy, Modem |  |  | 1
114 | ELC100301 | Central Monitoring, Energy, Digital Power Meter |  |  | 10
115 | ELC110201 | Fire Protection, Suppression, Switchboard & Control Panel |  |  | 2
116 | ELC110203 | Fire Protection, Suppression, Hose Reel, Control Panel |  |  | 2
117 | ELC120101 | Equipment, Food Service, Oven, Microwave |  |  | 22
118 | ELC120102 | Equipment, Food Service, Peeler, Vegetable |  |  | 1
119 | ELC120104 | Equipment, Food Service, Processor, Meat |  |  | 2
120 | ELC120107 | Equipment, Food Service, Slicer, Electric |  |  | 1
121 | ELC120108 | Equipment, Food Service, Water Boiler |  |  | 10
122 | ELC120112 | Equipment, Food Service, Plate Warmer |  |  | 2
123 | ELC120115 | Equipment, Oven & Dryer, Bottle Warmer |  |  | 2
124 | ELC120117 | Equipment, Oven & Dryer, Hot Air Oven |  |  | 3
125 | ELC130101 | Furniture, Cabinet, Dangerous Drug (DDA) |  |  | 12
126 | ELC160102 | Instrument, Tester, Light Intensity |  |  | 1
127 | ELC160104 | Instrument, Tester, Sound Level |  |  | 1
128 | ELC160105 | Instrument, Tester, Particle Count |  |  | 8
129 | ELC160106 | Instrument, Tester, Temperature |  |  | 1
130 | ELC160201 | Instrument, Recorder, Temperature |  |  | 4
131 | ELC180100 | Lightning Protection System |  |  | 1
132 | ELC180101 | Lightning Protection, Arrestor |  |  | 1
133 | ELC180102 | Lightning Protection, Earthing |  |  | 5
134 | ELC210100 | Security, CCTV System |  |  | 5
135 | ELC210102 | Security, CCTV, Camera |  |  | 9
136 | ELC210103 | Security, CCTV, Monitor |  |  | 1
137 | ELC210104 | Security, CCTV, Video Recorder / Player |  |  | 1
138 | ELC210200 | Security, Door Access Control System |  |  | 2
139 | ELC210205 | Security, Door Access Control, Keypad |  |  | 9
140 | ELC230101 | Water Supply, Cold, Pump, Electrical Control panel |  |  | 1
141 | ELC230102 | Water Supply, Hot, Electrical Control Panel |  |  | 1
142 | ELC230103 | Electrical Control panel |  |  | 3
143 | ELC260103 | Centralised Medical Gas Supply, Medical Air, Electrical Control Panel |  |  | 2
144 | ELC300101 | Electrical Fittings, Internal, Emergency |  |  | 3
145 | ELC300102 | Electrical Fittings, Internal, Exit Signs |  |  | 2
146 | ELC300103 | Electrical Fittings, Internal, Examination Light |  |  | 29
147 | ELC300105 | Electrical Fittings, Internal, Fan/Exhaust Fan |  |  | 26
148 | MEC010000 | Air Conditioning System |  |  | 1
149 | MEC010104 | Air Conditioning, Chilled Water System, Chiller, Screw |  |  | 3
150 | MEC010201 | Air Conditioning, Chilled Water System, Cooling Tower |  |  | 3
151 | MEC010202 | Air Conditioning, Chilled Water System, Primary Chilled Water Pump |  |  | 3
152 | MEC010203 | Air Conditioning, Chilled Water System, Primary Condensate Water Pump |  |  | 3
153 | MEC010206 | Air Conditioning, Chilled Water System, Expansion Tank |  |  | 2
154 | MEC010301 | Air Conditioning, Air Handling Unit |  |  | 20
155 | MEC010401 | Air Conditioning, Fan Coil Unit |  |  | 45
156 | MEC010701 | Air Conditioning, Split Unit |  |  | 27
157 | MEC010901 | Air Conditioning, Air Curtain Unit |  |  | 1
158 | MEC011101 | Air Conditioning, Devices, HEPA Exchange/Module Box |  |  | 1
159 | MEC011201 | Air Conditioning, Devices, UV Air Sterilizer |  |  | 1
160 | MEC011601 | Air Conditioning, Devices, Air Ionizer. |  |  | 2
161 | MEC011701 | Air Conditioning, Humidity Control, Dehumidifier |  |  | 1
162 | MEC020000 | Ventilation System |  |  | 2
163 | MEC020101 | Ventilation, Exhaust Fan |  |  | 11
164 | MEC020102 | Ventilation, Exhaust Fan, Ducted |  |  | 6
165 | MEC020301 | Ventilation, Hood, With Exhaust Fan |  |  | 2
166 | MEC020401 | Ventilation, Ducting |  |  | 1
167 | MEC020501 | Ventilation, Isopod, Isolation Transport Unit |  |  | 1
168 | MEC020601 | Ventilation, Respirator, PAPR |  |  | 6
169 | MEC040101 | Equipment, Safety Cabinet, Bio-hazard Cabinet |  |  | 3
170 | MEC040102 | Equipment, Safety Cabinet, Fume Cupboard |  |  | 2
171 | MEC050101 | Equipment, Bed, Baby Cot |  |  | 18
172 | MEC050102 | Equipment, Bed, Child |  |  | 13
173 | MEC050103 | Equipment, Bed, Maternity |  |  | 4
174 | MEC050104 | Equipment, Bed, Orthopedic |  |  | 4
175 | MEC050105 | Equipment, Bed, Patient |  |  | 12
176 | MEC050106 | Equipment, Bed, Patient, Electrical Control |  |  | 2
177 | MEC050107 | Equipment, Bed, Patient, Hydraulic Control |  |  | 28
178 | MEC050108 | Equipment, Bed, Patient, Manual Control |  |  | 108
179 | MEC050109 | Equipment, Bed, Post Mortem |  |  | 2
180 | MEC050111 | Equipment, Bed, Examination |  |  | 29
181 | MEC050201 | Equipment, Trolley |  |  | 5
182 | MEC050203 | Equipment, Trolley, General Purpose |  |  | 132
183 | MEC050204 | Equipment, Trolley, Goods |  |  | 19
184 | MEC050205 | Equipment, Trolley, Medicine |  |  | 17
185 | MEC050206 | Equipment, Trolley, Patient Transfer |  |  | 23
186 | MEC050207 | Equipment, Trolley, Resuscitation |  |  | 16
187 | MEC050208 | Equipment, Trolley, Stretcher |  |  | 18
188 | MEC050209 | Equipment, Trolley, Treatment |  |  | 14
189 | MEC050301 | Transportation, Wheel Chairs, Standard |  |  | 84
190 | MEC050302 | Transportation, Wheel Chairs, Commode |  |  | 8
191 | MEC060000 | Centralised Medical Gas Supply System |  |  | 1
192 | MEC060100 | Centralised Medical Gas Supply, Oxygen System |  |  | 1
193 | MEC060103 | Centralised Medical Gas Supply, Oxygen, Cylinder Manifold |  |  | 1
194 | MEC060105 | Centralised Medical Gas Supply, Oxygen, Terminal Unit |  |  | 21
195 | MEC060106 | Centralised Medical Gas Supply, Oxygen, VIE Tank |  |  | 1
196 | MEC060200 | Centralised Medical Gas Supply, Medical Air System |  |  | 1
197 | MEC060202 | Centralised Medical Gas Supply, Medical Air, Compressor |  |  | 4
198 | MEC060204 | Centralised Medical Gas Supply, Medical Air, Cylinder Manifold |  |  | 1
199 | MEC060207 | Centralised Medical Gas Supply, Medical Air, Receiver |  |  | 2
200 | MEC060209 | Centralised Medical Gas Supply, Medical Air, Terminal Unit |  |  | 10
201 | MEC060300 | Centralised Medical Gas Supply, Nitrous Oxide System |  |  | 1
202 | MEC060303 | Centralised Medical Gas Supply, Nitrous Oxide, Cylinder Manifold |  |  | 1
203 | MEC060305 | Centralised Medical Gas Supply, Nitrous Oxide, Terminal Unit |  |  | 2
204 | MEC060400 | Centralised Medical Gas Supply, Vacuum System |  |  | 1
205 | MEC060404 | Centralised Medical Gas Supply, Vacuum, Pump |  |  | 3
206 | MEC060406 | Centralised Medical Gas Supply, Vacuum, Terminal Unit |  |  | 13
207 | MEC060500 | Centralised Medical Gas Supply, Entonox, system |  |  | 1
208 | MEC060503 | Centralised Medical Gas Supply, Entonox, Cylinder Manifold |  |  | 1
209 | MEC060504 | Centralised Medical Gas Supply, Entonox, Terminal Unit |  |  | 2
210 | MEC060600 | Centralised Medical Gas Supply, AGSS System |  |  | 1
211 | MEC060601 | Centralised Medical Gas Supply, AGSS, Pump |  |  | 1
212 | MEC060701 | Centralised Medical Gas Supply, Alarm Panel |  |  | 13
213 | MEC060801 | Equipment, Pendant, Ceiling Mounted |  |  | 4
214 | MEC070000 | Fire Protection System |  |  | 1
215 | MEC070105 | Fire Protection, Detection, CPU |  |  | 1
216 | MEC070109 | Fire Protection, Detection, Fireman Intercom |  |  | 10
217 | MEC070110 | Fire Protection, Detection, Heat / Smoke Detector |  |  | 17
218 | MEC070201 | Fire Protection, Suppression, Water Storage Tank |  |  | 1
219 | MEC070304 | Fire Protection, Suppression, Hose Reel, Drum |  |  | 32
220 | MEC070701 | Fire Protection, Suppression, Carbon Dioxide |  |  | 8
221 | MEC070901 | Fire Protection, Suppression, Hydrant, Pump, Electric |  |  | 3
222 | MEC070903 | Fire Protection, Suppression, Hydrant, Pillar |  |  | 12
223 | MEC071101 | Fire Protection, Extinguisher, Carbon Dioxide |  |  | 85
224 | MEC071102 | Fire Protection, Extinguisher, Dry Chemical |  |  | 200
225 | MEC080100 | Equipment, Food Service |  |  | 3
226 | MEC080102 | Equipment, Food Service, Boiler |  |  | 2
227 | MEC080104 | Equipment, Food Service, Conveyor |  |  | 1
228 | MEC080105 | Equipment, Food Service, Dish / Pot Washer |  |  | 1
229 | MEC080106 | Equipment, Food Service, Dough Maker |  |  | 1
230 | MEC080107 | Equipment, Food Service, Food Disposer Unit |  |  | 1
231 | MEC080108 | Equipment, Food Service, Fryer, Gas |  |  | 2
232 | MEC080110 | Equipment, Food Service, Kwali Cooker |  |  | 2
233 | MEC080111 | Equipment, Food Service, Oven, Gas |  |  | 1
234 | MEC080114 | Equipment, Food Service, Rice Cooker, Gas |  |  | 2
235 | MEC080115 | Equipment, Food Service, Rice Cooker, Steam |  |  | 2
236 | MEC080116 | Equipment, Food Service, Rice/Vegetable Washer |  |  | 1
237 | MEC080118 | Equipment, Food Service, Food Chiller |  |  | 4
238 | MEC080119 | Equipment, Trolley, Food |  |  | 2
239 | MEC080120 | Equipment,Food Service, Food Heated Trolley |  |  | 5
240 | MEC090102 | Furniture, Cabinet, Chemical |  |  | 1
241 | MEC090201 | Furniture, Chair, Patient Treatment |  |  | 5
242 | MEC090301 | Furniture, Work Table, Mortuary |  |  | 6
243 | MEC090302 | Furniture, Work Table, Dental |  |  | 6
244 | MEC100700 | Industrial Gas System, LPG/LNG |  |  | 1
245 | MEC100701 | Industrial Gas, LPG/LNG, Bulk Storage Tank |  |  | 1
246 | MEC160000 | Refrigeration, Cold Room |  |  | 1
247 | MEC160103 | Refrigeration, Cold Room, Meat |  |  | 1
248 | MEC160104 | Refrigeration, Cold Room, Mortuary |  |  | 1
249 | MEC160303 | Refrigeration, Freezer, Domestic |  |  | 8
250 | MEC160304 | Refrigeration, Freezer, Medical |  |  | 7
251 | MEC160305 | Refrigeration, Freezer, Ultra-low |  |  | 2
252 | MEC160402 | Refrigeration, Refrigerator, Domestic |  |  | 36
253 | MEC160403 | Refrigeration, Refrigerator, Mortuary |  |  | 3
254 | MEC160404 | Refrigeration, Refrigerator, Medical |  |  | 33
255 | MEC160405 | Refrigeration, Refrigerator, Blood |  |  | 3
256 | MEC170101 | Equipment, Rehabilitation, Ambulatory Aids |  |  | 1
257 | MEC170102 | Equipment, Rehabilitation, Cryotherapy |  |  | 1
258 | MEC170103 | Equipment, Rehabilitation, Exercisers |  |  | 8
259 | MEC170105 | Equipment, Rehabilitation, Lower Extremities |  |  | 4
260 | MEC170106 | Equipment, Rehabilitation, Multipurpose |  |  | 7
261 | MEC170107 | Equipment, Rehabilitation, Upper Extremities |  |  | 4
262 | MEC170109 | Equipment, Rehabilitation, Workshop Tools |  |  | 5
263 | MEC170112 | Equipment, Rehabilitation, Packheater |  |  | 1
264 | MEC190101 | Sterilisation, Autoclave, Free Standing |  |  | 3
265 | MEC190103 | Sterilisation, Autoclave, Table Top |  |  | 1
266 | MEC190601 | Washer / Disinfector, Bedpan |  |  | 5
267 | MEC190603 | Washer / Disinfector, Instrument |  |  | 3
268 | MEC190605 | Washer / Disinfector, Ultrasonic |  |  | 2
269 | MEC200000 | Vertical Transportation System |  |  | 1
270 | MEC200303 | Equipment, Loading Devices, Palette Truck |  |  | 2
271 | MEC200503 | Vertical Transport, Elevator, Passenger |  |  | 3
272 | MEC200902 | Transportation, Vehicles, Ambulance |  |  | 7
273 | MEC200906 | Transportation, Vehicles, Hearse |  |  | 1
274 | MEC200913 | Transportation, Vehicles, Van |  |  | 5
275 | MEC220000 | Water Supply, Hot Water System |  |  | 1
276 | MEC220102 | Water Supply, Hot, Boiler, Gas Fired |  |  | 2
277 | MEC220109 | Water Supply, Hot, Boiler, Recirculation Pump |  |  | 4
278 | MEC220201 | Water Supply, Hot, Calorifier |  |  | 2
279 | MEC230000 | Water Treatment System |  |  | 3
280 | MEC230401 | Water Treatment, Chemical Dosing Pump |  |  | 1
281 | MEC230501 | Water Treatment, Pure Water System |  |  | 1
282 | MEC230701 | Water Treatment, Filter / Strainer, Mechanical |  |  | 2
283 | MEC240101 | Equipment, Weighing Scales, Commercial |  |  | 1
284 | MEC240102 | Equipment, Weighing Scales, Patients |  |  | 29
285 | MEC240104 | Equipment, Weighing Scales, Materials |  |  | 2
286 | MEC250101 | Electrical Pump |  |  | 3
287 | MEC270101 | Water Supply, Cold, Pump, Electrical |  |  | 20
288 | MEC270104 | Pump, Diesel |  |  | 2
289 | MEC270105 | Hydropneumatic Tank |  |  | 6
Grand Total |  |  |  |  | 2390